Recommended Specifications for

Stravifloor Deck

Section 13 48 00 Sound Control

This document is for specification writers' reference in the drafting process. CDM Stravitec will not be held responsible for the use or unauthorized modification of any information contained herein.

Specification notes are identified in the document as follows “SPEC NOTE” – these notes must be removed from final documents. Where multiple options may be available, these are identified in the corresponding spec note.

Text highlighted in yellow indicates text that should be coordinated with the entire spec book or represent sections that are options not found on every installation.

This document specification has been specifically written for the Stravifloor Deck system. Below is a schematic indication of the construction process from start to end as described in this specification.

PART 1 GENERAL

  - SUMMARY

- Furnish and install all materials, labor, tools, appliances, and equipment and perform all operations necessary for installation of the isolated floating floor system, Stravifloor Deck, as shown on the contract drawings and/or as described in the contract documents.

  - Related SECTIONS

Shall include but not be limited to:

- Concrete and reinforcing: Section 033000

- Subflooring: Section 061623

SPEC NOTE:

- Note to Designer. Stravifloor Deck systems require a flat and level structural floor to be specified. (Note to Specifier: FF 25 as minimum – meaning a single 6 mm (¼’’) defect across 3 m (10-feet)).

- Caulking: This is to be coordinated with the appropriate specification or specified herein. Care should be taken to identify the proper acoustical caulking if it is in a separate specification section.

- Caulking:  Section 079200

  - SYSTEM DESCRIPTION

The isolated floating floor system shall be designed, supplied, and installed as detailed in the contract drawings, and include the following components:

- Channel Supports Minimum 24-gauge galvanized Steel Channels to distribute loads between pads and provide support for Formwork Panels. Channel profile, dimensions and section properties shall be selected based on the loading conditions and isolator spacing and dimensions.

SPEC NOTE:

Choose one of the following options in terms of bearing type, according to design criteria.

Natural Rubber Isolation Pads can achieve a resonant frequency as low as 6 Hz under varying conditions.

Spring Isolators can achieve a resonant frequency as low as 3 Hz under varying conditions.

Please contact CDM Stravitec for assistance with design of special floating floors with low resonance frequency.

- Bearings: natural rubber isolation pads, 2’’ (50 mm) [or 1-3/16’’ (30 mm)], capable of achieving a resonant frequency lower than 8 Hz [or 10 Hz].

The bearings must have a creep rate < 1.5% (dec./min.) at maximum static load.

The bearings must be marked for easy identification on site and coordination with shop drawings.

[OR]

SPEC NOTE:

Custom springs can be provided but affecting the channel support design.

Spring Isolators can achieve a resonant frequency as low as 4.5 Hz under varying design conditions.

B.    Steel Springs: steel springs isolators, capable of achieving a resonance frequency of 4.5 Hz at ADL, including elastomeric top and bottom plates, respectively.

SPEC NOTE:

OPTIONAL ITEM: Sleepers or Shims may be installed over isolators to increase airspace.

- [IF REQUIRED] Over-heights or Shims: rigid materials such as concrete blocks, metal, or wood sleepers at thickness required by acousticians to achieve and maintain adequate airspace or flatness in the system as necessary. If the materials in the air cavity may be exposed to moisture or water, suitable materials should be chosen.

Shims should be at least 1" (25 mm) bigger than the pad in both directions. No limits are imposed regarding maximum height, but a connection between shims and isolators should be considered to make the overall system stable if too tall.

Over-heights or shims can be installed on bottom or top of pads.

In the event shims are placed on top of the bearings, must be continuous, beam-like, with mechanical fastening between it and the channel that supports the bearings.

- Formwork: Non-Combustible, Low-Profile Dove-Tail Corrugated ASTM A653 Grade 50 Steel Deck Panels with embossed ribs, Nominal 2’ Width.

- Pour stops: 14 gauge steel bent plate pour stops produced to meet or exceed deck thickness.

- Stravifloor Perimeter Isolation Element and Penetration Interface: 1’’ (25 mm) perimeter isolation board with an apparent density of 6 lbs/cu-ft (100 kg/m3). [OPTION] Perimeter Isolation Board shall be Formaldehyde-Free.

SPEC NOTE:

CDM Stravitec recommends one of two potential Perimeter Board:

1. Standard Item: Johns Manville Whispertone Wallboard - fine, rotary-process, borosilicate glass fibers bonded with a special thermosetting resin to produce a structurally rigid board-type insulation.

2. Formaldehyde-Free Item: Knauf Acoustical Smooth Board with ECOSE® Technology - inorganic glass fibers preformed into boards with ECOSE Technology. W/ UL Environment: GREENGUARD Certified, GREENGUARD Gold Certified, Validated to be Formaldehyde-Free and EUCEB Certified

Alternatively, use of a 3/8’’ (10 mm) resilient perimeter isolation strip with a minimum density of 20 lbs/cu-ft (320 kg/m3) in areas where seismic loading is considered is recommended.

[IF REQUIRED] Acoustic Lateral Load Bearing Isolator Pads: In order to isolate the Acoustical Floating Floor from horizontal movements due to large horizontal forces (e.g. seismic loads), Acoustic Lateral Load Bearing Isolator Pads shall be installed at the perimeter of the Acoustical Floating Floor. The Isolator Pad shall be designed to transfer the lateral forces without compromising the resonance frequency of the Acoustical Floating Floor.

SPEC NOTE:

CDM Stravitec recommends Load-bearing lateral isolation restraints to prevent lateral deflections that may occur under various load conditions as well as for projects in seismic zones.

The restraint system itself can be composed of systems like walls, curbs, or Stravifloor FAB (floor angle braces), and its design and implementation are not included in this section.

- Stravifloor Acoustical Batt Insulation: Provide for acoustical batt insulation with the following specifications:

      - Nominal Thickness: 3/4’’ (20 mm) | 1” (25 mm) | 1.5” (38 mm) | 2” (50 mm) | 3” (75 mm)

      - Apparent Density: equal or greater than 2 lbs/cu-ft (32 kg/m3).

      - [OPTION] Acoustical Batt Insulation shall be Formaldehyde-Free.

SPEC NOTE:

As a reference, the thickness of the Acoustical Batt Insulation should be at least 75% of the cavity depth. So, for a 50 mm (2’’) air cavity, a 37.5 mm (1.5’’) Acoustical Batt Insulation is recommended.

CDM Stravitec recommends one of two potential Acoustical Batt Insulation:

1. Standard Item: Rockwool Acoustical Fire Batt (AFB) - lightweight, acoustical fire batt stone wool insulation specifically designed for steel stud and wood stud interior wall and floor applications – OR EQUIVALENT. This will depend on supply chain at time of project delivery.

2. Formaldehyde-Free Item: Knauf KN Series with ECOSE® Technology - flexible to semi-rigid blankets made from inorganic glass fibers bonded with ECOSE Technology. W/ UL Environment: GREENGUARD Certified, GREENGUARD Gold Certified, Validated to be Formaldehyde-Free and EUCEB Certified

- Caulking: Perimeter of Acoustical Isolated Floating Slab to be caulked with non-hardening acoustical seal.

SPEC NOTE:

Provide information for caulking if required

- Concrete for Isolated Floating Floor System: Provide fine grade aggregate, normal weight concrete (UNO by design team) with a minimum compressive strength of 3000 psi (20 MPa) at 28 days. Slab should be properly reinforced to sustain self-weight loads, imposed and live loads. The slab should be properly reinforced and cured per structural design, respecting the code minimums specified and SEOR floating floor design.

SPEC NOTE:

Minimum 3000 psi (20 MPa), standard weight concrete.  The slab should be properly reinforced and cured per structural design, respecting the code minimums specified and SEOR floating floor design.

  - SUBMITTALS

- Shop Drawings: Submit shop drawings showing layout, profiles, product components, product data, and relevant performance information, including but not limited to:

  - Detailed product drawings, including isolator size and locations.

  - Identification of all loads for the project – Dead Loads (DL), Superimposed Dead Loads (SiDL), Live Loads (LL).

  - Calculation of static (deflection) and dynamic (resonance frequency) performance of all isolators under the following scenarios:

    - Construction Phase (CP) Load,

    - Dead Load only (DL),

    - Acoustic Design Load (ADL) – Dead Load plus Live Load with a coefficient of 25%, and

    - Serviceability Limit State (SLS) - Dead Load plus Live Load.

  - Penetrations and drain details.

  - Perimeter condition details.

- Acoustical test data from an independent laboratory, with a test date in the last 10 years, showing a minimum STC of 80 and IIC of 73 using a 2” (50 mm) finish floor thickness, on a 5-1/2” (140 mm) structural floor, with a 2” (50 mm) air gap.

SPEC NOTE:

Item above relative to Acoustical test data references a requirement for “tests conducted within the last 10 years”. It should be noted that this is different from the test report as it is common practise for laboratories to re-issue reports with new test report dates for testing that occurred outside of a 10-year test date.

Stravi-dB:

CDM Stravitec provides various acoustic tests for different floor setups on www.stravi-dB.com. In addition to the test reports, editable .csv files with data and typical cross-sections are also available.

  - QUALITY ASSURANCE

The Stravifloor Deck system shall be installed by an experienced installer specialized in the installation of similar work to that of this project, either under direction from or by authorization of CDM Stravitec.

- The Stravifloor Deck manufacturer shall have a minimum of 10 similar projects within the past 5 years and be capable of providing field service representation during installation.

- The system shall be designed and fabricated by CDM Stravitec and subjected to CDM Stravitec Quality Assurance program.

  - DELIVERY, STORAGE, AND HANDLING

- Ordering: Comply with the manufacturer's ordering process and lead time requirements to avoid project delays.

- Delivery: Deliver materials in manufacturer's original, unopened, undamaged containers with identification labels intact.

- Storage and Protection: Materials shall be stored in a conditioned space recommended by the manufacturer and protected from external weather conditions.

  - PROJECT CONDITIONS

    - If site conditions are unsatisfactory or raise questions about the installation and/or performance of the floating floor, the work shall not proceed until the condition has been corrected in a manner acceptable to meet the Isolated Floating Floor System Manufacturer’s guidelines.

  - WARRANTY

- Manufacturer’s Warranty: Submit, for the owner’s acceptance, the manufacturer’s standard warranty document executed by an authorized company official. The manufacturer’s warranty is in addition to and not a limitation of other rights the Owner may have under Contract Documents.

PART 2 PRODUCTS

2.01 MATERIALS

- Manufacturer:

CDM Stravitec, Inc.

Address: 342 N. Queen St., Warehouse D, Lancaster, PA 17603

Phone: 888-454-6236

Email: info-us@cdm-stravitec.com

Web: www.cdm-stravitec.com

- Products:

  - Stravifloor Deck and associated accessories as described in Part 1 of this Section.

2.02 SUBSTITUTION OF MATERIALS

SPEC NOTE:

Choose one of the following statements as desired by the design team.

- Substitute materials shall meet or exceed the “quality and performance” of the products which are listed in these Specifications. Submit samples and test reports by an independent laboratory for consideration on this project.

[OR]

A.   No substitutions are permitted.

PART 3 EXECUTION

3.01 INSTALLATION

The installation of the Isolated Floating Floor System specified herein shall be in accordance with procedures submitted by the System manufacturer and approved by the Design Team (architect, structural and acoustical).

- The base structural slab receiving the Isolated Floating Floor System shall be flat, smooth structural surface, cleared of debris and broom swept; any required waterproofing properly installed. The flatness of the supporting floor should be a maximum of 1/4” (6 mm) over 10’ (3 m) – FF 25 (according to ASTM E1155-14 and American concrete Institute publication ACI 302) - to ensure a successful installation.

If the supporting floor is not completely flat and level then use a fast-drying, self-levelling compound across the whole floor to achieve required flatness criteria.

- All walls, columns, and service penetrations through the floating floor should be isolated using strips of perimeter isolation or similar material as required to meet the geometry on site. The height of this isolation should be at a minimum equal to the thickness of the Isolated Floating Floor System.

Do not use any fasteners through the perimeter isolation boards.

- Install pads and channels per the shop drawings.

- Lay down CDM Stravitec provided batt insulation in between the isolated channels. The thickness of the absorption layer should be smaller than the void after elastomer deflection. Make sure not to place batt insulation under the channels.

The acoustical insulation layer can be provided in pre-cut sheets [NOTE: Not all varieties of insulation and thickness are available in pre-cut sheets] and can be loose laid without mechanical or adhesive fixing. Ensure that the locations of the cut outs in the acoustical insulation  layer match the spacing and locations of CDM Stravitec isolators as indicated on the drawings provided. Chalk line may be used to help maintain proper spacing.

- Install metal edge profiles (pour stops) around the perimeter. The profiles will be used as side formwork and thus should cover the entire lateral section of the future concrete or screed floor. More flexible lateral formwork can be used if the wall and other vertical elements are not straight.

- Install dove-tail corrugated steel deck panels over the channel/ isolator/ batt system. Deck panels should be placed with the top identifying marker alternating each row of panels to ensure the capability for the joints to overlap. The crosscut overlap occurs between the alternating rows and should be a minimum of 4” (100 mm); once clicked into place the overlap dimension can be adjusted by sliding the decks as required.  The sidelap should be a minimum of 2” (50 mm) in order to ensure a consistent construction of the deck slab. The deck must be supported by the CDM Stravitec channels at the specified spacing and at each end. Deck should be mechanically joined together and to the supporting channels using sheet metal screws at required patterns per the provided shop drawings. The length of the fasteners used to install the joining mechanism must not puncture the isolation pads.

- Install reinforcing bars as required and identified by structural engineer. Reinforcement bars shall be assembled to the isolator assemblies in accordance with instructions from the structural engineer.

- To prevent infiltration of concrete or screed that will be poured in situ on the decking sheets, the joints must be filled with an elastic sealer or a polyurethane foam.

- The concrete is poured onto the deck and finished to the specified slab thickness. Full design loading can be applied after 28 days.

- Trim any excess perimeter isolation material to the finished floor height and seal around the perimeter with a suitable elastic caulk. Clean any concrete that may have bridged over the perimeter isolation board.

- All sound isolation materials and building components supported by isolation materials are to be completely free from rigid contact with any part of the building structure.

  - PROTECTION

    - Foot traffic during installation shall be kept to a minimum.

    - Products shall be protected from damage during construction.

    - Any vented or open perimeters shall remain free and clear of debris.

    - The operation of heavy equipment and machinery on the floating floor shall be verified with the manufacturer before use.

END OF SECTION